|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Sampled** | 7/07/2017 |   | **Licensee:** | Maitland City Council |
| **Published** | 11/07/2017 |  | **EPL #** | 6116 |
| **Obtained** | 11/07/2017 |   |   |   |   |
| Sampling Point | Monitoring Frequency | Pollutant | Measurement | Limit | Unit |
| **Eastern Bank** | Monthly | Carbon Dioxide | 0.24 | NA | Volume % |
|   | Monthly | Oxygen | 20.76 | NA | Volume % |
|   | Monthly | Carbon Monoxide | ND | NA | Volume % |
|   | Monthly | Methane | 0.12 | NA | Volume % |
|   | Monthly | Hydrogen | ND | NA | Volume % |
|   | Monthly | Nitrogen | 78.9 | NA | Volume % |
|   | Monthly | CO:O₂ | NC | NA | deff. Ratio |
| **LMH3** | Monthly | Carbon Dioxide | 0.18 | NA | Volume % |
|   | Monthly | Oxygen | 20.8 | NA | Volume % |
|   | Monthly | Carbon Monoxide | ND | NA | Volume % |
|   | Monthly | Methane | 0.04 | NA | Volume % |
|   | Monthly | Hydrogen | ND | NA | Volume % |
|   | Monthly | Nitrogen | 79 | NA | Volume % |
|   | Monthly | CO:O₂ | NC | NA | deff. Ratio |
| **LMH6** | Monthly | Carbon Dioxide | 0.08 | NA | Volume % |
|   | Monthly | Oxygen | 20.93 | NA | Volume % |
|   | Monthly | Carbon Monoxide | ND | NA | Volume % |
|   | Monthly | Methane | 0.02 | NA | Volume % |
|   | Monthly | Hydrogen | ND | NA | Volume % |
|   | Monthly | Nitrogen | 79 | NA | Volume % |
|   | Monthly | CO:O₂ | NC | NA | deff. Ratio |
| **LMH7** | Monthly | Carbon Dioxide | 29 | NA | Volume % |
|   | Monthly | Oxygen | 2.13 | NA | Volume % |
|   | Monthly | Carbon Monoxide | ND | NA | Volume % |
|   | Monthly | Methane | 58.6 | NA | Volume % |
|   | Monthly | Hydrogen | 0.005 | NA | Volume % |
|   | Monthly | Nitrogen | 10.2 | NA | Volume % |
|   | Monthly | CO:O₂ | NC | NA | deff. Ratio |
| **LMH13** | Monthly | Carbon Dioxide | 0.2 | NA | Volume % |
|   | Monthly | Oxygen | 20.76 | NA | Volume % |
|   | Monthly | Carbon Monoxide | ND | NA | Volume % |
|   | Monthly | Methane | 0.01 | NA | Volume % |
|   | Monthly | Hydrogen | ND | NA | Volume % |
|   | Monthly | Nitrogen | 79 | NA | Volume % |
|   | Monthly | CO:O₂ | 0.03 | NA | deff. Ratio |
| **LMH15** | Monthly | Carbon Dioxide | 0.05 | NA | Volume % |
|   | Monthly | Oxygen | 20.87 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0001 | NA | Volume % |
|   | Monthly | Methane | ND | NA | Volume % |
|   | Monthly | Hydrogen | ND | NA | Volume % |
|   | Monthly | Nitrogen | 79.1 | NA | Volume % |
|   | Monthly | CO:O₂ | 0.08 | NA | deff. Ratio |
| \* ND = non-detection NC = not calculated |  |  |  |