|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Sampled** | 2/05/2012 |   | **Licensee:** | Maitland City Council |
| **Published** | 27/06/2012 |  | **EPL #** | 6116 |
| **Obtained** | 9/05/2012 |   |   |   |   |
| Sampling Point | Monitoring Frequency | Pollutant | Measurement | Limit | Unit |
| **Eastern Bank** | Monthly | Carbon Dioxide | 14.82 | NA | Volume % |
|   | Monthly | Oxygen | 12 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0006 | NA | Volume % |
|   | Monthly | Methane | 22.8 | NA | Volume % |
|   | Monthly | Hydrogen | 0.0015 | NA | Volume % |
|   | Monthly | Nitrogen | 49.5 | NA | Volume % |
|   | Monthly | CO:O₂ | 0.45 | NA | deff. Ratio |
| **LMH3** | Monthly | Carbon Dioxide | 13.44 | NA | Volume % |
|   | Monthly | Oxygen | 13.31 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0008 | NA | Volume % |
|   | Monthly | Methane | 22.4 | NA | Volume % |
|   | Monthly | Hydrogen | 0.001 | NA | Volume % |
|   | Monthly | Nitrogen | 50.9 | NA | Volume % |
|   | Monthly | CO:O₂ | 0.52 | NA | deff. Ratio |
| **LMH6** | Monthly | Carbon Dioxide | 22.4 | NA | Volume % |
|   | Monthly | Oxygen | 7.56 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0006 | NA | Volume % |
|   | Monthly | Methane | 41.9 | NA | Volume % |
|   | Monthly | Hydrogen | 0.002 | NA | Volume % |
|   | Monthly | Nitrogen | 28.1 | NA | Volume % |
|   | Monthly | CO:O₂ | nc | NA | deff. Ratio |
| **LMH7** | Monthly | Carbon Dioxide | 18.82 | NA | Volume % |
|   | Monthly | Oxygen | 9.49 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0012 | NA | Volume % |
|   | Monthly | Methane | 36 | NA | Volume % |
|   | Monthly | Hydrogen | nd | NA | Volume % |
|   | Monthly | Nitrogen | 35.7 | NA | Volume % |
|   | Monthly | CO:O₂ | nc | NA | deff. Ratio |
| **LMH13** | Monthly | Carbon Dioxide | 23.4 | NA | Volume % |
|   | Monthly | Oxygen | 8.12 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0007 | NA | Volume % |
|   | Monthly | Methane | 38 | NA | Volume % |
|   | Monthly | Hydrogen | 0.0035 | NA | Volume % |
|   | Monthly | Nitrogen | 30.4 | NA | Volume % |
|   | Monthly | CO:O₂ | nc | NA | deff. Ratio |
| **LMH15** | Monthly | Carbon Dioxide | 7.73 | NA | Volume % |
|   | Monthly | Oxygen | 28.04 | NA | Volume % |
|   | Monthly | Carbon Monoxide | 0.0014 | NA | Volume % |
|   | Monthly | Methane | 29.1 | NA | Volume % |
|   | Monthly | Hydrogen | 0.003 | NA | Volume % |
|   | Monthly | Nitrogen | 35.1 | NA | Volume % |
|   | Monthly | CO:O₂ | nc | NA | deff. Ratio |