|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Sampled** | 6/09/2013 |  | **Licensee:** | Maitland City Council | |
| **Published** | 24/09/2013 |  | **EPL #** | 6116 | |
| **Obtained** | 24/09/2013 |  |  |  |  |
| Sampling Point | Monitoring Frequency | Pollutant | Measurement | Limit | Unit |
| **Eastern Bank** | Monthly | Carbon Dioxide | 1.5 | NA | Volume % |
|  | Monthly | Oxygen | 20.62 | NA | Volume % |
|  | Monthly | Carbon Monoxide | 0.0024 | NA | Volume % |
|  | Monthly | Methane | 1.46 | NA | Volume % |
|  | Monthly | Hydrogen | 0.001 | NA | Volume % |
|  | Monthly | Nitrogen | 76.4 | NA | Volume % |
|  | Monthly | CO:O₂ | nc | NA | deff. Ratio |
| **LMH3** | Monthly | Carbon Dioxide | 1.67 | NA | Volume % |
|  | Monthly | Oxygen | 18.38 | NA | Volume % |
|  | Monthly | Carbon Monoxide | 0.0024 | NA | Volume % |
|  | Monthly | Methane | 1.59 | NA | Volume % |
|  | Monthly | Hydrogen | \*nd | NA | Volume % |
|  | Monthly | Nitrogen | 78.4 | NA | Volume % |
|  | Monthly | CO:O₂ | 0.1 | NA | deff. Ratio |
| **LMH6** | Monthly | Carbon Dioxide | 3.34 | NA | Volume % |
|  | Monthly | Oxygen | 16.48 | NA | Volume % |
|  | Monthly | Carbon Monoxide | 0.0026 | NA | Volume % |
|  | Monthly | Methane | 5.38 | NA | Volume % |
|  | Monthly | Hydrogen | 0.0045 | NA | Volume % |
|  | Monthly | Nitrogen | 74.8 | NA | Volume % |
|  | Monthly | CO:O₂ | 0.08 | NA | deff. Ratio |
| **LMH7** | Monthly | Carbon Dioxide | 4.27 | NA | Volume % |
|  | Monthly | Oxygen | 13.35 | NA | Volume % |
|  | Monthly | Carbon Monoxide | 0.0018 | NA | Volume % |
|  | Monthly | Methane | 5.04 | NA | Volume % |
|  | Monthly | Hydrogen | \*nd | NA | Volume % |
|  | Monthly | Nitrogen | 77.3 | NA | Volume % |
|  | Monthly | CO:O₂ | 0.03 | NA | deff. Ratio |
| **LMH13** | Monthly | Carbon Dioxide | 0.66 | NA | Volume % |
|  | Monthly | Oxygen | 20.87 | NA | Volume % |
|  | Monthly | Carbon Monoxide | 0.0047 | NA | Volume % |
|  | Monthly | Methane | 0.05 | NA | Volume % |
|  | Monthly | Hydrogen | \*nd | NA | Volume % |
|  | Monthly | Nitrogen | 78.4 | NA | Volume % |
|  | Monthly | CO:O₂ | nc | NA | deff. Ratio |
| **LMH15** | Monthly | Carbon Dioxide | 1.36 | NA | Volume % |
|  | Monthly | Oxygen | 17.58 | NA | Volume % |
|  | Monthly | Carbon Monoxide | 0.0017 | NA | Volume % |
|  | Monthly | Methane | 0.08 | NA | Volume % |
|  | Monthly | Hydrogen | \*nd | NA | Volume % |
|  | Monthly | Nitrogen | 81 | NA | Volume % |
|  | Monthly | CO:O₂ | 0.04 | NA | deff. Ratio |